## Slide 1: CHAPTER 2 Temel KANUNLar

## Slide 2: 2.2 Ohm Kanunu
Resistance: The ability to resist current.

## Slide 3: 2.2 Ohm Kanunu
Resistance: The ability to resist current.
Metal alaşım ve karbon bileşiklerinden imal edilir

## Slide 4: 2.2 Ohm Kanunu
Ohm’s law: the voltage across a resistor is directly proportional to current.
The proportionality constant is the resistor ().
George Simon Ohm (1826)

## Slide 5: 2.2 Ohm Kanunu
Resistor.

## Slide 6: 2.2 Ohm Kanunu
A short circuit is a circuit element with resistance approaching zero.
An open circuit is a circuit element with resistance approaching to infinity.

## Slide 7: 2.2 Ohm Kanunu
Sabit dirençler
Değişken dirençler (Potansiyometre - POT)

## Slide 8: 2.2 Ohm Kanunu
Conductance is the ability of an element to conduct electric current (S - Siemens).
Dirençte harcanan güç?

## Slide 9: 2.2 Ohm Kanunu
Example: Calculate the current, conductance and the power in the circuit below:

## Slide 11: 2.3 Dallar, düğümler ve çevreler
Branch is a two terminal element (bir elemanı temsil eder).
  In the below network there are 5 branches
    10 V voltage source, 2 A current source, 3 resistors

## Slide 12: 2.3 Dallar, düğümler ve çevreler
Nodes is the connection between branches.
  In the below network there are 3 nodes.
    a, b and c.

## Slide 13: 2.3 Dallar, düğümler ve çevreler
Nodes is the connection between branches.
  In the below network there are 3 nodes.
    a, b and c.

## Slide 14: 2.3 Dallar, düğümler ve çevreler
A loop is a closed path in a circuit.
  In the below network there are 3 loops.
b=l+n-1

## Slide 15: 2.3 Dallar, düğümler ve çevreler
How many parallel and serial elements are there in the circuit below:

## Slide 16: 2.3 Dallar, düğümler ve çevreler

## Slide 17: 2.3 Dallar, düğümler ve çevreler

## Slide 18: 2.4 Kırchhoff’s law

## Slide 19: 2.4 Kirchhoff Kanunu
Kirchhoff’s Current Law (KCL): The sum of currents entering a node (or closed boundary) is zero.

## Slide 20: 2.4 Kirchhoff Kanunu
Kirchhoff’s voltage law: The algebraic sum of all voltages around a closed path (or loop) is zero.

## Slide 21: 2.4 Kirchhoff Kanunu

## Slide 22: 2.4 Kirchhoff Kanunu
Example: Find voltages V1 and V2.

## Slide 23: 2.4 Kirchhoff Kanunu
Example: Find currents and the voltages in the circuit below:

## Slide 24: 2.4

## Slide 25: 2.5 SeRİ VE PARALEL BAĞLI DİRENÇLER

## Slide 26: 2.5 Seri Bağlı Dirençler
Series Resistors:

## Slide 27: 2.6 Paralel Bağlı Dirençler
Parallel Resistors:

## Slide 28: 2.6 Paralel Bağlı Dirençler
Find the equivalent resistance in the circuit below:

## Slide 29: Seri-Paralel Bağlı Dirençler
Find the equivalent resistance in the circuit below:

## Slide 30: Seri-Paralel Bağlı Dirençler
Find the equivalent resistance in the circuit below:

## Slide 31: Seri-Paralel Bağlı Dirençler
Find i0 and v0 in the circuit below:

## Slide 33: Seri-Paralel Bağlı Dirençler
Find v0 and the power supplied by the current source in the circuit below:

## Slide 34: 2.7 Wye-Delta Dönüşümü
Bridge Circuit, neither parallel nor series.

## Slide 35: 2.7 Wye-Delta Dönüşümü
Delta to Wye conversion
  Pi veya Delta, aynı
  Y veya T, aynı

## Slide 36: 2.7 Wye-Delta Dönüşümü
Delta to Wye conversion

## Slide 37: 2.7 Wye-Delta Dönüşümü
Delta to Wye conversion (Simplified)

## Slide 38: 2.7 Wye-Delta Dönüşümü
Wye to Delta conversion

## Slide 39: 2.7 Wye-Delta Dönüşümü
Wye to Delta conversion

## Slide 40: 2.7 Wye-Delta Dönüşümü

## Slide 41: 2.7 Wye-Delta Dönüşümü

## Slide 42: 2.7 Wye-Delta Dönüşümü
Find the equivalent resistance between a and b.

## Slide 43: 2.7 Wye-Delta Dönüşümü
There are 3 parallel resistors

## Slide 44: DC Metre
Potentiometer (Potential meter) - pot: A device that controls the voltage, voltage regulator:

## Slide 45: DC Metre
Voltmeter (voltage meter)
Ammeter (ampere meter)
Ohmmeter (resistance meter)

## Slide 46: DC Metre
All these meters depends on d’Arsonval meter
  This device measures current (if one knows the current and another parameter the third one can be found)
Remember: Lorentz Force

## Slide 47: DC Metre
Voltmeters require high resistance (as high as possible):

## Slide 48: DC Metre
Ammeter requires low resistance (as low as possible):

## Slide 49: DC Metre
Ohmmeter (uses voltmeter and ammeter):

## Slide 60: SON